## Sheet1
FORM OF OFFER | [7 empty] | APPENDIX C
Crown Agent's reference: | CA/109684
Bidder's reference:
Currency:
Date:
We offer to supply on the terms of the Request for Quotation under the above reference dated enter date ("the RFQ") the Goods and perform the Services detailed below. We confirm that we have downloaded and read the documents from Crown Agents Website which are incorporated by reference and accept that any resultant Contract will be subject to the General Contract Conditions for the Purchase of Goods and Associated Services (2013) and such other Special Conditions specified therein. Delivery of the Goods and completion of the Services shall take place within the period stated below from the date of receipt of an award of Contract. We confirm that the Goods offered are new and fully meet the required specification detailed in the RFQ.
Catergory: | Medical
Bidders to complete this section
Item | Qty required | Unit of measure | Destination country | Technical Description/Brief | Unit Price: | Extended Price: | Please state lead time for goods/items: | Please state make & model offered where applicable:
Table top Aspirator Gomec Model 405 or equivalent (other preferred brand is Laerdal LSU). General use tabletop aspirator for hospitals, clinics and physician’s offices. Machine should be able to operate via battery as well as mains with both adult and paed capability. Supplied with (1) disposable suction tubing kit (one 18" & one 72", per kit) and (1) package of disposable hydrophobic bacteria ﬁlters (3 filters per package). | 2 | Unit | Anguilla | Aspirator Gomec Model 405 or equivalent make/brand •Vacuum Range: -80 to -635 mm Hg •Flow Rate: 40 lpm at open flow •Sound Level: Less than 54 dBA •Pump Type: Carbon rotary vane •Electrical Cord: 6' hospital grade •Voltage: 115V/60 Hz •Dimensions: 12.5"W x 10"D x 9.5"H (31.75 cm x 25.4 cm x 24.13 cm) •Weight: 14.5 lbs. (7 kg) •UL/ETL Listed: Yes •Warranty: 1 year •Regulatory Approvals: FDA, CE, HC
Additioanl disposable suction tubing kits for (one 18" & one 72", per kit) and (1) package of disposable hydrophobic bacteria ﬁlters (3 filters per package) for the model of Aspiration machine offered above. Also include disposable catheters (nose/mouth) and disposable bottles. | 4 | Unit | Anguilla
Portable X-ray - Mobilett Mira Max. | 1 | Unit | Anguilla | Mobilett Mira Max System specification Power output Max. 35 kW, max. 450 mA Footprint (l x w x h) 113 cm x 59.5 cm x 157 cm (44.5“ x 23.4“ x 61.8“) Max. focal spot height 213.5 cm (84“) Tube positioning: Max. horizontal extension 124.5 cm (49“) System weight (w/o optional accessories) Approx. 375 kg (825 Ibs) MAX wi-D detector Dimensions 35 cm x 43 cm x 1.9 cm (14” x 17” x 0.7”) Scintillator Cesium iodide (Csl) Weight 3 kg (6.6 lbs) MAX mini detector Dimensions 24 cm x 30 cm x 1.6 cm (10” x 12” x 0.6”) Scintillator Cesium iodide (Csl) Weight 1.6 kg (3.5 lbs) Clinical workflow System access Option of either standard key or numeric keypad / PIN code User interface syngo FLC Standard battery pack (65 Ah) Battery operation time 6 h/200 exposures at 70 kV/20 mAs Standby time (On state) 12 h High power battery pack (Option) (90 Ah) Battery operation time 8 h/270 exposures at 70 kV/20 mAs Standby time (On state) 16 h Image processing DiamondView Plus - Automatic, dose-neutral image processing for improved organ-specific contrast and detail Detector sharing Possible across all MAX systems via MAXswap
Vital signs monitors | 2 | Unit | Anguilla | Vital Sign Monitor - provides oxygen saturation (SpO2), blood pressure (BP), temperature (tympanic - ear - thermometer) and basic cardiac monitoring (12-lead ECG). Please provide accessories and maintaince helpline with this product.
Infusion Pumps: HEDY Infusion Pump, Three Infusion modes + Dose, Loading Dose, Trapezia, Sequence, Intermittent Model + Drug Library. | 4 | Unit | Anguilla
Three Functions Electronic Bed: L2280mm x W1080mm x H450-750mm | 5 | Unit | Anguilla
No Contact Handheld Thermoscan devices, with oral probe plus disposable probe covers. | 8 | Unit | Anguilla
Pulse oximeters | 6 | Unit | Anguilla | Hand-held portable SpO2 monitor and Finger probe model Fingertip pulse oximeter with LED display Suitable for adults and paediatrics 2 years+
Hospital Screens - 3 or 4 panels | 4 | Unit | Anguilla | Hospital screens: Tubular metal frame with 4 washable and flame retardant panels. Caster wheels included for movement of the screen. 4 panel dimensions: 2403 x 438 x 1680mm, Folded dimensions - 630 x 470 x 1680 3 panel dimensions: 1802 x 438 x 1680mm, folded dimensions -630 x 470 x 1680
Crash cart | 2 | Unit | Anguilla | Crash cart: A self-contained, mobile unit (trolley or cart) that contains supplies, drugs, and devices necessary to perform an emergency resuscitation. Should consist of drawers, space on top for defibrillator, and have a set of sturdy wheels that are lockable
Cough Stations Model: BD105-0012 or equivalent model. Make: Bowman or equivalent make. | 50 | Unit | BVI | Kit BD105-0012 includes the following products: • BOWMAN® Respiratory Hygiene Station (RS005-0412) • BOWMAN® Floor Stand (KS010-0412) • BOWMAN® 8.5" x 11" Sign Holder - Vertical (MP-070) Approx. dimensions: 22.25"W x 60.48"H x 18.00"D 56.5 cm x 153.6 cm x 45.7 cm
Respiratory Hygiene Stations Model: FD-062 or equivalent model. Make: Bowman or equivalent make. | 50 | Unit | BVI | Dimensions: 17.55 x 5.0 x 10.0 in (WxDxH) Holds 2 boxes of Face Masks Holds 1-2 Facial Tissue boxes Holds 1 Hand Sanitizer bottle Makes infection control supplies readily available Holds 2 boxes of face masks, 1 box of facial tissue, and one hand sanitizer bottle Locking lids for security Constructed from quartz ABS plastic, clear PETG plastic lid ABS plastic makes the FD-062 durable and easy to clean Countertop or wall mounted placement Keyholes for wall mounting
Disposable Thermometer | 5000 | Unit | BVI
Glucose meters | 20 | Unit | BVI | Glucose Monitor Range 1.11 to 33.3 mmol/L. To be provided with testing strips.
Blood Pressure cuffs (disposable adult) | 50 | Packs | BVI | Blood Pressure Cuffs - disposable – adults. Connect to any Blood Pressure device. Adult size - please confirm size.
Blood Presure cuffs (disposable children) | 75 | Packs | BVI | Blood Pressure Cuffs - disposable – child. Connect to any Blood Pressure device. Paed size - please confim size.
Digital Thermometers | 3000 | Unit | Bermuda | Digial thermometer: 32-42.9 Celsius Degrees, LCD display, waterproof, including instruction and plastic box. LR 41 button battery included.
O2 Saturation Monitors (Portable) - pulse oximeters | 42 | Unit | Bermuda | Hand-held portable SpO2 monitor and Finger probe model Fingertip pulse oximeter with LED display Suitable for adults and paediatrics 2 years+
Vital signs monitors | 16 | Unit | Turks Caicos | Vital Sign Monitor - provides oxygen saturation (SpO2), blood pressure (BP), temperature (tympanic - ear - thermometer) and basic cardiac monitoring (3-lead ECG). Please provide accessories and maintaince helpline with this product.
Pulse Oximeters (portable finger size) | 26 | Unit | Turks Caicos | Hand-held portable SpO2 monitor and Finger probe model Fingertip pulse oximeter with LED display Suitable for adults and paediatrics 2 years+
Digital Thermometers | 32 | Unit | Turks Caicos | Digial thermometer: 32-42.9 Celsius Degrees, LCD display, waterproof, including instruction and plastic box. LR 41 button battery included.
CG4 cartridges (i-stat). Type: CG4+. | 2196 | Unit | St Helena
Phillips ICU Cardiac Monitor and Cables | 2 | Unit including cables | St Helena
Phillips MP30 ICU Cardiac Monitor on stand and Cables | 2 | Unit including stand and cables | St Helena
Bullnose O2 Regulator for O2 Cylinders | 20 | Unit | St Helena
O2 Flow Meter for O2 Cylinders | 20 | Unit | St Helena
O2 Concentrator | 8 | Unit | St Helena | 10 Litre Oxygen Concentrator Oxygen concentrator that outputs to 10L/min.
Aerogen Nebulizer System | 10 |  | St Helena
Pressure Monitoring Cuffs | 4 | Packs | St Helena | Blood Pressure Cuffs - disposable – adults. Connect to any Blood Pressure device. Adult size - please confirm size.
Infusion Pumps with ICU software. Preferred model: B. Braun or equivalent model. | 15 | Unit | St Helena | Infusion pumps with ICU software - includes: Dose Rate Calculation, Dose Over Time, Ramp and Taper Mode, Program Mode, Pump needs to have Dose Rate Calculation, Dose Over Time, Ramp and Taper Mode, Program Mode, Intermittent Mode, PCA, TCI, TIVA, KVO and Piggyback function
Infusion Syringe Pumps with ICU software Preferred model: B. Braun or equivalent model. Standard syringe driver. | 7 | Unit | St Helena
B.Braun Power combi Lead Cable | 15 | Unit | St Helena
B.Braun Pump Clamp | 20 | Unit | St Helena
IV Stand (Heavy duty) | 5 | Unit | St Helena | IV Stand – Heavy Duty: • CE marked (Class 1 Devices Directive 93/42/EEC) • Conforms to BS3619:1976 • Framework - 30mm stainless steel tube • Drip / IV pole - 12mm solid stainless steel bar • Height adjustable from 1200mm to 2000mm • 5 x 50mm anti-static castors • Weight 5.05kg • 5kg per hook safe working weight • Polished cast aluminium 600mm base with large rounded corners to reduce the risk of ankle injury
IV Stand (Regular) | 30 | Unit | St Helena | IV Stand – portable. • Plastic Base - 2 Plastic Hooks • Adjustable height range from approximately 160cm to 245cm height and 51 cm width • Simple locking height adjustment • Complies with BS3619:1976 • 2kg hook load or 4kg total • Lightweight design approx 3kg • Stable 5 star castor base • Easy to clean design and materials • 2 year warranty
Philips Heart Start Defibrillator and accessories | 1 | Unit | St Helena
Phillips Heart Start FRx3 AED | 1 | Unit | St Helena
Blood gas Machine (i-Stat Alinity) Portable blood gas testing on portable hand-held machine. Make: Abbott or equivalent model. Battery operated. | 1 | Unit | St Helena
O2 cylinders with Flow Meters | 20 | Unit | St Helena
Medical air compressor | 2 | Unit | St Helena
Nasopharyngeal swabs | 5000 | Kits | Montserrat
Deep Vein Thrombosis (DVT) Systems. 50/60 hertz. | 1 | Unit | Montserrat
Heart monitors - Cardiac/ Defibrillators with CO2 monitoring capability. Lifepak 15 - must have cardiac monitoring, 12-lead ECG, pacing, defibrillation, adult and paed with standard vital signs. Machine to provide CO2 monitoring with recording paper, defib pads and paddles attachment | 2 | Unit | Montserrat
Automated Blood Gas (ABG) Machine and associated Reagents. Brand: Medica EasyBloodGas or equivalent make/model. | 1 | Unit | Montserrat
Vital Signs Monitors | 2 | Unit | Montserrat | Vital Sign Monitor - provides oxygen saturation (SpO2), blood pressure (BP), temperature (tympanic - ear - thermometer) and basic cardiac monitoring (3-lead ECG). Please provide accessories and maintaince helpline with this product.
IV Pumps | 2 | Unit | Montserrat
Table top Aspirator Gomec Model 405 or equivalent (other preferred brand is Laerdal LSU). General use tabletop aspirator for hospitals, clinics and physician’s offices. Machine should be able to operate via battery as well as mains with both adult and paed capability. Supplied with (1) disposable suction tubing kit (one 18" & one 72", per kit) and (1) package of disposable hydrophobic bacteria ﬁlters (3 filters per package). | 3 | Unit | Montserrat | Aspirator Gomec Model 405 or equivalent make/brand •Vacuum Range: -80 to -635 mm Hg •Flow Rate: 40 lpm at open flow •Sound Level: Less than 54 dBA •Pump Type: Carbon rotary vane •Electrical Cord: 6' hospital grade •Voltage: 115V/60 Hz •Dimensions: 12.5"W x 10"D x 9.5"H (31.75 cm x 25.4 cm x 24.13 cm) •Weight: 14.5 lbs. (7 kg) •UL/ETL Listed: Yes •Warranty: 1 year •Regulatory Approvals: FDA, CE, HC
Additioanl disposable suction tubing kits for (one 18" & one 72", per kit) and (1) package of disposable hydrophobic bacteria ﬁlters (3 filters per package) for the model of Aspiration machine offered above. Also include disposable catheters (nose/mouth) and disposable bottles. | 3 | Unit | Montserrat
Pulse Oximeters | 6 | Unit | Montserrat | Fingertip Pulse Oximeter • Fingertip pulse oximeter with LED display • Suitable for adults and paediatrics 2 years+ • Displays SpO2, pulse rate, and pulse bar • Auto power down to save battery usage • SpO2 Measurement Range: 70% – 99%: ±2% accuracy • Pulse Rate Measurement Range: 30 – 99bpm: ±2bpm accuracy / 100 – 235bpm: ±2% accuracy • Power Source: 2 x AAA batteries – batteries excluded.
Portable Ultra Sound Scanner and Probes Philips Lumify model preferred or equivalent model. Must be able to detect pleural effusion. | 1 | Unit | Montserrat
Automated External Defibrillator (AED) Machine | 4 | Unit | Montserrat
Disposable Thermometers | 2000 | Unit | Montserrat
Oxygen Masks - Adult. Medium concentration oxygen mask with 1 no. tube per mask. | 10 | Case | Montserrat | Medium concentration oxygen mask with 1 no. tube per mask.
Oxygen Masks - Children. Medium concentration oxygen mask with 1 no. tube per mask. | 10 | Case | Montserrat | Medium concentration oxygen mask with 1 no. tube per mask.
Oxygen tube extensions | 50 | Units | Montserrat | Oxygen tubing Approximately 2m length
Airway, Guedel, Sterile, Single use (multiple) | 10 | Unit | Montserrat
Tracheal tube introducer (Bougie or Gum elastic Bougie) | 10 of each size | Case | Montserrat
Oesophageal tracheal airway (Combi tube) | 10 of each size | Case | Montserrat
Endotracheal tube (WITH cuff) | 5 | Sets | Montserrat
Endotracheal tube (WITHOUT cuff) | 3 | Sets | Montserrat
Venturi masks | 500 | Unit | Montserrat
Set of Stainless-steel depressors | 10 | Unit | Montserrat
Table top Sterilizer - Tuttenauer | 1 | Unit | Montserrat
Airsep 10 L Oxygen Concentrators or equivalent make/model. | 2 | Unit | Tristan da Cunha | 10 Litre Oxygen Concentrator with Oxygen Splitters. Make: Airsep or equivalent model. Oxygen concentration 2 – 9 l/min - 92% ±3% 10 l-min - 9% ±3% Outlet pressure - 20 psig (13 kPa) Power - 20-240V, 50Hz Power consumption - 590 watts Alarms - Battery test, high temperature, power failure, high and low pressure, low concentration Weight - 26kg Dimensions - 37 x 42 x 70cm
Diamedica Oxygen Splitter | 2 | Unit | Tristan da Cunha | 2 no. Diamedica Flow Splitters to operate with the Airsep 10 Litre Oxygen Concentrator.
Finger pulse oximeter monitor | 2 | Unit | Tristan da Cunha | Hand-held portable SpO2 monitor and Finger probe model Fingertip pulse oximeter with LED display Suitable for adults and paediatrics 2 years+
Cpap Masks Medium | 30 Each | Unit | Falklands
Cpap Masks Large | 30 Each | Unit | Falklands
Oxygen Tubing | 20 Roll | Unit | Falklands | Oxygen tubing Approximately 2m length
Nasal Cannulas (adult) | 75 Each | Unit | Falklands | Nasal Cannula and Tube. Nasal cannula with tubing, single use, adult
Oxygen Masks | 100 Each | Unit | Falklands | Oxygen Masks - Adult. Medium concentration oxygen mask with 1 no. tube per mask.
Total Price Primary Trade Packed:
Cost for Export Packing and delivery:
Total packed and delivered FCA Supplier's premises (Incoterms® 2020):
The delivery period FCA from receipt of an award of Contract will be ……weeks. We [name of bidder] confirm that this quotation is valid for acceptance for 20 days from 6th May 2020. Should inspection be required, the location for the inspection of the Goods will be: ……………... We [name of bidder] agree to adopt and comply with Crown Agents’ Ethical Code for Business Partners as available as a download from the Supplier Download page on Crown Agents website http://www.crownagents.com/supplier-downloads. If the bidder is not the manufacturer of the Goods the quotation must clearly state the name and full address/es of the manufacturer/s and provide evidence of their authority for the bidder to submit a quotation.
Please state the location address for collection of the goods on FCA basis:
Authorised Signature:
Name in Capitals:
Position:
Company Name and Address:
Company Registration Number:
Company VAT Number:
Telephone Number:
E-mail address:
Web-Site: