**Program 6 Medical products for patients with epidermolysis bullosa**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **#** | **Procurement Item** | **Unit of Measurement** | **Estimated annual demand, 100%, excluding available remainders and expected deliveries** | **Estimated Quantity under the Assets Allocated in 2021 (units)** |
|  | Absorbent soft-silicone foam dressing for open wounds, non-adherent, sterile, 20 x 50 cm (± 10 %) | 1 dressing | 32,234 | 32,234 |
|  | Exudate transfer foam dressing for open wounds, non-adherent, sterile, 20 x 50 cm (± 10%) | 1 dressing | 23,934 | 23,934 |
|  | Absorbent foam dressing for open wounds, non-adherent, sterile, 20 x 20 cm (± 5 cm) | 1 dressing | 22,320 | 22,320 |
|  | Absorbent bordered foam dressing for open wounds, non-adherent, sterile, 10 x 20 cм (± 5 cm) | 1 dressing | 21,987 | 21,987 |
|  | Exudate transfer polymeric membrane dressing for open wounds, non-adherent, sterile, 20 x 20 cm (± 5 cm) | 1 dressing | 5,931 | 5,931 |
|  | Wound contact layer, permeable, sterile, 10 х 20 cm (± 2 cm) | 1 mesh | 39,371 | 39,371 |
|  | Lipid-colloid wound contact layer, 20 х 30 cm | 1 mesh | 39,149 | 39,149 |
|  | Non-woven swabs, sterile, 10 х 10 cm (2 pieces) | 1 swab | 143,800 | 143,800 |
|  | Tubifast tubular bandage, TM RED LINE, 10 m, or equivalent | 1 bandage | 1,340 | 1,340 |
|  | Tubifast tubular bandage, TM GREEN LINE, 10 m, or equivalent | 1 bandage | 1,944 | 1,944 |
|  | Tubifast tubular bandage, TM BLUE LINE, 10 m, or equivalent | 1 bandage | 1,740 | 1,740 |
|  | Tubifast tubular bandage, TM YELLOW LINE, 10 m, or equivalent | 1 bandage | 540 | 540 |
|  | Tubifast tubular bandage, TM PURPLE LINE, 10 m, or equivalent | 1 bandage | 495 | 495 |
|  | Elastic fixing bandage BATIST® FIXA-CREPP, 4 cm х 4 m, or equivalent | 1 bandage | 27,760 | 27,760 |
|  | Elastic fixing bandage BATIST® FIXA-CREPP, 6 cm х 4 m, or equivalent | 1 bandage | 16,780 | 16,780 |
|  | Elastic fixing bandage BATIST® FIXA-CREPP, 8 cm х 4 m, or equivalent | 1 bandage | 14,320 | 14,320 |
|  | Elastic fixing bandage BATIST® FIXA-CREPP, 10 cm х 4 m, or equivalent | 1 bandage | 27,320 | 27,320 |
|  | Elastic fixing bandage BATIST® FIXA-CREPP, 12 cm х 4 m, or equivalent | 1 bandage | 22,980 | 22,980 |
|  | Wound irrigation solution, 350 ml or equivalent | 1 vial | 4,550 | 4,550 |
|  | Wound Gel / Gel X, 250 g or equivalent | 1 tube | 3,645 | 3,645 |